## Notes
Notes

## Solar
Read the notes first
http://www.campertrailers.org/solar_spreadsheet.htm
Assumptions |  |  | Daily Usage |  |  | Fridge | Lights | Radio | DVD | TV | Other | Day/Night Usage
Battery |  |  | Average amps |  |  | 2 | 1 | [6 empty] | Day | Night
Battery capacity (amphours,AH) | 55 |  | Approx hours per day |  |  | 8 | 3 | [5 empty] | Fridge | 75% | 25%
Minimum allowable SOC | 50% |  | Approx total Watt Hours |  |  | 192 | 36 | 0 | 0 | 0 | 0 |  | Lights | 0% | 100%
Remaining capacity at minimum SOC (AH) | 27.5 |  | Approx total Amp Hours |  |  | 17.7778 | 3.3333 | 0 | 0 | 0 | 0 |  | Radio, DVD, TV | 10% | 90%
Initial state |  |  | (incl system losses) | [9 empty] | Other | 50% | 50%
State of charge (SOC) is | 80%
Available capacity at min. SOC (AH) | 16.5 |  |  | Battery state of charge (at 27 degrees C)
Solar Panels |  |  |  |  | Wet standard or wet low maintenance |  |  |  |  | Data taken from table on this web site http://www.uuhome.de/william.darden/
Nominal capacity (Watts) | 130 |  |  | Rest voltage | 12.65 | 12.45 | 12.24 | 12.06 | 11.89
Panel efficiency | 70% |  |  | SOC | 100% | 75% | 50% | 25% | 0%
Actual output ( Watts) | 91 |  |  |  | Wet "maintenance free" or AGM/Gell cell
|  |  |  | Rest voltage | 12.8 | 12.6 | 12.4 | 12 | 11.8
Estimated system losses | 10% |  |  | SOC | 100% | 75% | 50% | 25% | 0%
Assumed Sun Hours per day |  |  | 3 | 3 | 3 | 3 | 3 | 3 | 3
|  |  | Day 1 | Day 2 | Day 3 | Day 4 | Day 5 | Day 6 | Day 7 | Day 8 | Day 9 | Day 10 | Day 11 | Day 12 | Day 13 | Day 14
Day |  |  | Day 1: Available power - sufficient, insufficient, none
Battery state of charge at start of day |  |  | 65.86% | 66.4% | 66.95% | 67.49% | 68.04% | 68.59% | 69.13% | 69.68% | 50% | 50% | 50% | 50% | 50% | 50%
Battery power (AH) |  |  | 36.2222 | 36.5222 | 36.8222 | 37.1222 | 37.4222 | 37.7222 | 38.0222 | 38.3222 | 27.5 | 27.5 | 27.5 | 27.5 | 27.5 | 27.5
Available power (AH) at minimum SOC |  |  | 8.7222 | 9.0222 | 9.3222 | 9.6222 | 9.9222 | 10.2222 | 10.5222 | 10.8222 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05
Solar panel output (AH) |  |  | 22.75 | 22.75 | 22.75 | 22.75 | 22.75 | 22.75 | 22.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total available power(AH) |  |  | 31.5 | 31.8 | 32.1 | 32.4 | 32.7 | 33 | 33.3 | 10.8 | 0 | 0 | 0 | 0 | 0 | 0
Drawdown (AH)
Fridge |  |  | 13.3333 | 13.3333 | 13.3333 | 13.3333 | 13.3333 | 13.3333 | 13.3333 | 10.8 | 0 | 0 | 0 | 0 | 0 | 0
Lights |  |  | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05
Radio, DVD, TV |  |  | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05
Other |  |  | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05
Total drawdown |  |  | 13.3333 | 13.3333 | 13.3333 | 13.3333 | 13.3333 | 13.3333 | 13.3333 | 10.8 | -3e-05 | -3e-05 | -3e-05 | -3e-05 | -3e-05 | -3e-05
Shortfall (AH) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5333 | -13.3333 | -13.3333 | -13.3333 | -13.3333 | -13.3333 | -13.3333
Surplus solar power to battery (AH) |  |  | 8.0715 | 8.0715 | 8.0715 | 8.0715 | 8.0715 | 8.0715 | 8.0715 | 0 | 2.5714e-05 | 2.5714e-05 | 2.5714e-05 | 2.5714e-05 | 2.5714e-05 | 2.5714e-05
Available battery power (AH) |  |  | 16.7937 | 17.0937 | 17.3937 | 17.6937 | 17.9937 | 18.2937 | 18.5937 | 0.022272 | 4.5714e-05 | 4.5714e-05 | 4.5714e-05 | 4.5714e-05 | 4.5714e-05 | 4.5714e-05
Night
Battery SOC |  | 80% | 80.53% | 81.08% | 81.62% | 82.17% | 82.72% | 83.26% | 83.81% | 50.04% | 50% | 50% | 50% | 50% | 50% | 50%
Battery power (AH) |  | 44 | 44.2937 | 44.5937 | 44.8937 | 45.1937 | 45.4937 | 45.7937 | 46.0937 | 27.5223 | 27.5 | 27.5 | 27.5 | 27.5 | 27.5 | 27.5
Available power (AH) at minimum SOC |  | 16.5 | 16.8 | 17.1 | 17.4 | 17.7 | 18 | 18.3 | 18.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Drawdown (AH)
Fridge |  | 4.4444 | 4.4444 | 4.4444 | 4.4444 | 4.4444 | 4.4444 | 4.4444 | 4.4444 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Lights |  | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 3.3333 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Radio, DVD, TV |  | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05
Other |  | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05 | -1e-05
Total drawdown |  | 7.7778 | 7.7778 | 7.7778 | 7.7778 | 7.7778 | 7.7778 | 7.7778 | 7.7778 | -2e-05 | -2e-05 | -2e-05 | -2e-05 | -2e-05 | -2e-05 | -2e-05
Shortfall (AH) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -7.7778 | -7.7778 | -7.7778 | -7.7778 | -7.7778 | -7.7778 | -7.7778
Battery power at end of day (AH) |  | 8.7222 | 9.0222 | 9.3222 | 9.6222 | 9.9222 | 10.2222 | 10.5222 | 10.8222 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05
Battery SOC at end of day |  | 65.86% | 66.4% | 66.95% | 67.49% | 68.04% | 68.59% | 69.13% | 69.68% | 50% | 50% | 50% | 50% | 50% | 50% | 50%
Summary
Power available (AH)
Battery |  | 16.5 | 8.7222 | 9.0222 | 9.3222 | 9.6222 | 9.9222 | 10.2222 | 10.5222 | 10.8222 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05
Solar |  | 0 | 22.75 | 22.75 | 22.75 | 22.75 | 22.75 | 22.75 | 22.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  | 16.5 | 31.4722 | 31.7722 | 32.0722 | 32.3722 | 32.6722 | 32.9722 | 33.2722 | 10.8222 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05 | 2e-05
Power required (AH) |  | 7.7778 | 21.1111 | 21.1111 | 21.1111 | 21.1111 | 21.1111 | 21.1111 | 21.1111 | 21.1111 | 21.1111 | 21.1111 | 21.1111 | 21.1111 | 21.1111 | 21.1111
Shortfall (AH) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -10.2889 | -21.1111 | -21.1111 | -21.1111 | -21.1111 | -21.1111 | -21.1111
spread sheet by Richard Graylin